## Slide 1: Training Introductions and Overview
HVAC System & Controls Training

## Slide 2: Welcome, presenters
Peter Thomsen
Mark Wade
Michael Piotrowski
Michael O’Niel

## Slide 3: Welcome, students
Introductions
Objectives for the next 3 days

## Slide 4: Agenda Day One

## Slide 5: Agenda Day Two

## Slide 6: Agenda Day Three

## Slide 7
Armstrong Fluid Technology

## Slide 8: The Armstrong Culture
Learning & Innovation
Helping our Customers Win
Service
Community

## Slide 9
Bangalore
Toronto - HQ
Buffalo
Manchester
Birmingham
Dubai
Shanghai
Global presence
Sao Paulo
Lyon

## Slide 10: Our Core Competencies
Heat Transfer
Fluid Flow
Variable Speed
Demand Based Control
Integrated Solutions
Intelligent Pump Technology
Integrated Fluid Management
Plant Automation and Optimization
Integrated Packaged Plant Rooms
Optimum Life-Cycle Building Performance
Notes: 10

## Slide 11: Sustainability How we are helping our customers
http://armstrongpumps.com/armstrong/sustainabilitydashboard
Notes: We have launched our Sustainability Dashboard. This is a vehicle for displaying in real time the amount of energy, $ and CO2 we’re saving our customers worldwide through our Design Envelope solutions.
It could be meaningful to show the live dashboard during the training to allow the participants to see ticking of the numbers.
Please encourage the participants to show this dashboard when they do presentations to the customers to allow the numbers to come to live for the customers.
Ask the audience how do they relate this point to the customers?
Capture the answers on a flip chart.

## Slide 12: Resolving the cost efficiency paradox
The effect: It has been a choice between:
Lowest First Cost
Lowest Life Cycle Cost
OR
Notes: And there we have it.
The cost efficiency paradox.

## Slide 13
The Design Envelope Solution
Enabled by our unique combination of core competencies
Heat Transfer
Fluid Flow
Variable Speed
Demand Based Control
Lowest First Cost
Lowest Life Cycle Cost
AND
Armstrong has achieved:
Notes: 13

## Slide 14: Design Envelope Offering Characteristics
Demand-based control (embedded)
All variable load/speed integration
Plug and play BMS-ready/-independent
Commissioning by on-board controls,
Automatic data acquisition & diagnostics
Increased efficient capacity/ “sweet spot”
Optimal Match-up / tuning of internal components, making them smaller
Beyond Variable Speed
Notes: Capabilities which accrue to the customer from sign Envelope technologies are
  1) Demand-based control – Enables equipment output to be varied dependent on system requirements. No PID loops are required to achieve proper output. The equipment provides only the amount of cooling or heating required by the space – no instances of over shooting or wasted energy.
  2) All variable load/speed – Enables varying equipment output by slowing down or speeding up dependent on system demand. The equipment provides only the amount of cooling or heating required by the space – no instances of over shooting or wasted energy.
  3) Plug and play – The equipment electronically tunes itself to the system right from the get go without mechanical adjustments. Start –up calibration assures users that the equipment is properly set up for the lowest energy use.
  4) BMS-ready / independent – Equipment which works with or without a central building management system. Equipment installation becomes easier resulting in rapid installation and commissioning.
  5) Commissioning by controls – Eliminates the need for mechanical adjustment to optimize the system and verify the operating point.Elimination of specialised contractor personnel to co-ordinate multiple pieces of equipment in order to achieve specified performance.
  6) Self-regulating / continuous commissioning- is able to operate independently or networked. Changes to the occupant profile do not require system changes. The system continuously adjusts to changing systems over time resulting in a tremendous savings in life cost.
  7)Automatic data/meter reading – Ability to accumulate operation data which can be analysed both by the intelligence in the equipment itself as well as remotely to optimize operation.
  8)Internal diagnostics (incl. data storage) – ability to assess equipment performance at total-system or individual-device levels which results in Improvement of long term building performance and early detection of operational issues>
  9) Increased efficient capacity/ “sweet spot” - provides a large area of efficient operation rather than a single design point for maximum load. Equipment flexibility reduces need for reworks and customizations resulting from differences between design and real world conditions
10) Match-up of internal components and harmonization of external equipment - pairs up highly compatible components and further fine-tunes the interplay of components electronically. Matched and optimized components ensure optimal energy performance. Externally Design Envelope solutions leverage unmatched system components together.

## Slide 15
We have made the products intelligent
This changes the design rules for system configuration, and
This changes the performance that is possible
There are benefits for the entire community
Design Envelope Offering Capabilities
Summary
Beyond Variable Speed

## Slide 16
.90
.75
.55
10-20 years
6-10 years
0-5 years
Design Envelope IPC
Chiller plant age
1.1
Total plant kW/ton
25-50%
Design Envelope Integrated Plant Control (IPC)
50% savings over standard traditional plant
Plant Optimization with
Integrated Plant Control
Notes: 16
16

## Slide 17
Training Scope
Building System Solutions CSG
Configured Building Equipment CSG
Standard Building Products CSG
Notes: 17

## Slide 18
Session Objectives
Using the right tools for the right opportunity;
- knowing our strengths, and competitor’s weakness
- knowing the right stage to start the sell
- knowing the market’s where our value proposition applies
Notes: 18

## Slide 19
Sales Strategy – A Business Solution
System Solutions are a business solution
For Owners – Life cycle performance
For Consultants – Project Risk / Reputation
For Contractors – Project Risk / Cost Management
NOTE: generally, there are not purchase managers going out to buy system solution, like they would have existing need for a valve. Your role is to generate that demand for the right project opportunities.
SYSTEM SALES REQUIRE PROMOTION TO A DIFFERENT SET OF DECISION MAKERS THAN FOR TRADITIONAL PRODUCT
Notes: 19

## Slide 20
Human Capital
Customer
Capital
Structural
Capital
Partnering
Transaction
Product Solutions
Business Solutions
Enterprise Capital
System Selling
Product Sale
Notes: The interface between any customer and any provider (product or service) has varying degrees of relationship. Here we identify four levels of customer interface…
From simple transaction to complex logistical, or financial business solutions to the ultimate goal, a partnering relationship where we work behind the curtains in both companies to meet a specific need and strategic agenda that requires the utmost in trust and alignment to best serve a mutual customer and ourselves.
I’m fortunate to have experienced this transition and I’ll tell you there is nothing more rewarding than moving up this scale working to make your immediate customer a success in a strategic market and collaborating so closely together. It is indeed the most rewarding level of business personally and financially.

## Slide 21
Business Value Propositions of System Solutions
- single source responsibility
- shortened delivery and installation time
- reduced work on site
- reduced logistical coordination on site
- performance tested at the factory
- Performance specification (not component driven)
Notes: 21

## Slide 22
Value Propositions of System Solutions
- single source responsibility
- shortened delivery and installation time
- reduced work on site
- reduced logistical coordination on site
- performance tested at the factory
- Performance specification (not component driven)
This list of Values Relates to;
General Managers
Owners of Firms
Partners at Consultancies
Often the operating groups / staff
mis-interpret systems as a threat
that could displace them.
Make it clear – a solution that allows
them to bill the same or more, and
reduce your risk
Notes: 22

## Slide 23
Selecting the Right Offering – Scenario and Size “Sweetspot”
Notes: 23

## Slide 24
Building the Pipeline
Lead time for specification to order cycle is 12 – 24 months
Important to invest in the right projects
Notes: 24

## Slide 25
Specification Accountability
Chiller Plants / IPP / Packaged Plant Rooms
CDB / SMR responsible to review the specification and provide a copy to Armstrong with their inquiry. Armstrong will review plant specifications to help assess compliant bid, or identify exceptions.
FMS, HTP, IPS, IPC
CDB / SMR responsible to review and assess the bid specification. Where clarity is required, consult PEG to resolve technical questions and help with an Armstrong alternate. Armstrong standard of design will be offered.
Notes: 25

## Slide 26
Commission Policies
Systems Commission: default 8%
DE IPP – Destination and specification defined
Notes: 26

## Slide 27
Support Tools
Brochures (product and user)
Energy Analysis
Proposals (technical and commercial terms)
Project Specification for consultants
Packageworx design software & 3D drawings
Customer Presentations
Catalogued Systems with Price List
Reference Lists
Knowledge Exchange
Project Engineering Group Application Engineers
Notes: 27

## Slide 28
Target Verticals
Focus Verticals:
Data Centers
Hospitality
Healthcare
Education
Case Studies
Customer Testimonials
Project Profiles
Notes: 28

## Slide 29: Systems Training – Why You Are Here
Opportunity to grow your sales!
  Increased market range
  Increased scope of offering
U.S Market Size - $400M (pumps), >$3 billion (systems)
Business pressures are motivating the market toward system solution sales
  Delivery deadlines
  Cash flow models
  New technology integration
  Reduce cost risk exposure
  Reduce project risks

## Slide 30: Systems Training – Why You Are Here
Learn the value of:
- business proposition selling
- how to leverage tools like Packageworx
- increase the value of sell per project
- gain a differentiated competitive position
- gain new opportunities with specifying consultants
- reducing consultant and contractor risk
- value positioning of factory plant automation systems

## Slide 31: Elyria High School – Northrich (Cleveland)
4 Boilers with circ pumps
4 additional pumps
SGs and FTVs
Pump control panel
Expansion tank
Plate & Frame H/X

## Slide 32: Building system solutions
Key to Success ??
Get Specified !!!
Engage owner influence

## Slide 33
Questions
Notes: 33