## Slide 1: Day 2 Recap and overview
HVAC System & Controls Training

## Slide 2: Agenda Day One – review and questions

## Slide 3: Questions / notes on Day 1

## Slide 4: Agenda Day Two

## Slide 5: Design Envelope Technology Integrating: controls, pumps, and fabrication

## Slide 6: Design Envelope Technology Integrating: controls, pumps, and fabrication
  LOCKING IN THE SPEC;
  DE Pumps
  DE Pumps with PSPC
  DE Pumps on VPF with PSPC on IPS/IPC
  DE iFMS (with PSPC on IPS/IPC)
  Win rates
  35%
  40%
  80%
  85%

## Slide 7
Pump: Sensorless Control, in response to variable Cv loads
Algorithm embedded in controller that mimics performance of sensor

## Slide 8
1P EFFY
2P EFFY
3P EFFY
SPEED BASED STAGING
Energy Savings:
3 x 40HP Pumps
Operating Cost* – Speed Based Staging
~ $30,371
Best Efficiency Staging
~ $20,092
34% Saving
*Based on $0.10/kWh – 12 months operation – 40% design head min pressure
= Areas of highest inefficiency
An Integrated Approach to Reducing System Cost
Parallel Sensorless Pump Control – Performance Benefits
Notes: Over-laying our building load profile shows that the areas where underperformance occurs with BMS approaches is actually where the building spends most of time in operation! Considering a simple example, the use of Armstrong best efficiency staging can save 34% of the energy consumed in BMS parallel pumping schemes.

## Slide 9: DE4000 IPS With Parallel Sensorless Technology
  Enhanced for variable secondary pump speed control by either;
  (1) remote dP sensor(s),
  (2) return temperature setting,
  (3) most open valve position
  (4) sensorless
  2. Multi Parallel pump control up to 6 pumps with Parallel Sensorless Pump Control technology
  3. Valve control capability for campus energy transfer stations
  4. Multi language capability on the entire IPS offering
Notes: Designed with the industry's latest on variable speed pumping technology, the IPS4000 brings to us breakthrough solutions that enables variable speed pumping system exceeds the efficiency levels demanded by the market today. It leverages advance pumping control technology, offering flexibility yet simple to implement with the lowest installed and lowest operating cost.
The IPS4000 series controllers are specifically designed to control multiple secondary pumps for HVAC systems in both heating and cooling applications. The IPS4000 Controller is capable of controlling up to six (6) variable speed pumps in parallel or standby configurations and up to 12 zones.
The IPS 4000 series controller comes in the following configurations and ranges.
IPS 4001 (3 pumps and 2 zones)
IPS 4002 (4 pumps and 5 zones)
IPS 4003 (6 pumps and 12 zones

## Slide 10: IPC 9511/21 Overview Water Cooled Chiller Plant Automation
  Our UNIQUE capabilities :
  Optimizes staging of primary pumps for true best efficiency (PSPC)
  Quadratic control curve for optimized system delta T, and plant efficiency with comfort
  Can convert 3-way valve distribution systems to variable flow
  Remote device serial communications configurable from the setup screen
  Available as basic 90.1-2013 compliant configuration, and owner can upgrade to higher optimization modules at future date
Notes: The IPC9521 provides a full automation as a BMS would provide but with additional optimization features and options that the plant module of a BMS can’t match.
If associated with Design Envelope pumps on the primary loop, the true best efficiency staging optimization can be therefore applied. In tandem with Design Envelope pumps, Parallel SensorlessTM staging of pumps can be implemented to meet system demand while maintaining minimum flow rates for the chillers in operation.
As well as the true best efficiency, the IPC9521 will empower the quadratic control curve to respond to system demand for an optimized system delta T and an improved plant efficiency, increasing the building comfort.
The IPC9521 is a great opportunity to convert a 3-way valve distribution systems to a variable flow system.
Several standard chiller configurations are already preprogrammed. The screen view updates automatically, reflecting changes in the plant configuration. Identically, remote device serial communications are configurable from the setup screen. With further parameters also configurable directly on screen, it makes this control system the first one type in its category.
Finally, as mentioned previously, the IPC 9521 is available as basic 90.1 compliant configuration. Nevertheless if building condition and requirement change with time, the owner will be able to upgrade to higher optimization modules at future date.

## Slide 11: What about Variable Primary Flow

## Slide 12: Controls offering – Michael Piotrowski