TYPICAL SPECIFICATION

Suction Guides

Suction Guides

Furnish and install on the suction of each pump an Armstrong Suction Guide, with Outlet Flow Stabilizing Guide Vanes, removable Stainless Steel Strainer and Fine Mesh Start-up Strainer.

(For 10 bar flanged pipe :) Supply valve with Cast Iron body with PN16 flanged ports.

(For 20 bar flanged pipe :) Supply valves with Ductile Iron body and PN25 flanged ports.

The mechanical contractor shall inspect the strainer prior to activating the pump and, further, shall remove the Fine Mesh Start-up Strainer after a short running period. (24 hours maximum). Space shall provided for removal of the Strainer and connection of a blow-down valve.